An Act to Amend the Life Safety Code Regarding When Sprinkler Systems May Be Shut Off

Be it enacted by the People of the State of Maine as follows:

Sec. 1.  25 MRSA §2452, first ¶, as repealed and replaced by PL 2011, c. 691, Pt. A, §25, is amended to read:

The Commissioner of Public Safety shall adopt and may amend rules governing the safety to life from fire in or around all buildings or other structures and mass outdoor gatherings, as defined in Title 22, section 1601, subsection 2, within the commissioner's jurisdiction. Automatic sprinkler systems may not be required in existing noncommercial places of assembly. Noncommercial places of assembly include those facilities used for such purposes as deliberation, worship, entertainment, amusement or awaiting transportation that have a capacity of 100 to 300 persons.  Automatic sprinkler systems may not be required in existing commercial places of assembly that are open for no more than 50 days per calendar year.  "Commercial places of assembly" includes bars with live entertainment, dance halls, nightclubs, assembly halls with large open areas in which patrons stand or sit, commonly referred to as "festival seating," and restaurants. Once installed, an automatic sprinkler system in a building that is within 25 feet of another building may not be shut off for a reason other than short-term maintenance or a repair requiring the system to be shut off. Rules adopted pursuant to this section are routine technical rules, except that rules pertaining to fire sprinklers are major substantive rules, both of which are defined in Title 5, chapter 375, subchapter 2-A.

SUMMARY

This bill amends the provisions of law giving the Commissioner of Public Safety authority to adopt or amend rules governing safety to life by prohibiting shutting off an automatic sprinkler system in a building that is within 25 feet of another building except for short-term maintenance or a repair requiring the system to be shut off.