An Act Regarding Calibration Requirements for Certain Testing and Measurement Equipment

Be it enacted by the People of the State of Maine as follows:

Sec. 1.  10 MRSA §2356 is enacted to read:

§2356.  Calibration requirements for testing and measurement equipment

This section provides requirements for the calibration of certain testing and measurement equipment.

1.  Definitions.  As used in this section, unless the context otherwise indicates, the following terms have the following meanings.

A.  “Accredited laboratory” means a laboratory that is accredited pursuant to standard ISO/IEC 17025 of the International Organization for Standardization by a 3rd-party accrediting body.

B.  “NIST testing and measurement equipment” means any testing or measurement equipment that is subject to the requirements of this chapter and requires calibration to meet applicable standards published by the National Institute of Standards and Technology.

C.  “Publicly owned treatment works” has the same meaning as in Title 38, section 361-A, subsection 3-D.

2.  Calibration required by accredited laboratory.  Notwithstanding any other provision of this chapter to the contrary, an agency or department of the State, a municipal or quasi-municipal water utility and a publicly owned treatment works shall ensure that any NIST testing and measurement equipment used by the agency, department, water utility or treatment works is calibrated by an accredited laboratory.

SUMMARY

This bill amends the Maine Weights and Measures Law to require an agency or department of the State, a municipal or quasi-municipal water utility and a publicly owned treatment works to ensure that certain testing and measurement equipment used by the agency, department, water utility or treatment works is calibrated by an accredited laboratory.  The testing and measurement equipment subject to this calibration requirement includes any testing or measurement equipment that is subject to the requirements of the Maine Weights and Measures Law and requires calibration to meet applicable standards published by the National Institute of Standards and Technology.