An Act to Reduce Mercury in the Environment by Phasing Out Certain Fluorescent Light Bulbs

STATE OF MAINE

_____

IN THE YEAR OF OUR LORD

Two Thousand Twenty-three

_____

H.P. 1160 - L.D. 1814

An Act to Reduce Mercury in the Environment by Phasing Out Certain Fluorescent Light Bulbs

Be it enacted by the People of the State of Maine as follows:

Sec. 1.  38 MRSA §1672, sub-§1, ¶A-2 is enacted to read:

A-2.  "Compact fluorescent mercury-added lamp" means a compact, low-pressure, mercury-containing, electric-discharge light source, whether integrally ballasted or nonintegrally ballasted and regardless of the tube diameter or length and the shape or size of the lamp, in which a fluorescent coating transforms a portion of the ultraviolet energy generated by the mercury discharge into visible light and that:

(1)  Has a single base or end cap of any type, including, but not limited to, a screw base type, a bayonet base type or a 2-pin or 4-pin base type; and

(2)  Provides a light emission between a correlated color temperature of 1,700K and 24,000K and a Duv of +0.024 and -0.024 in the International Commission on Illumination (CIE) Uniform Color Space (CAM02-UCS).

Sec. 2.  38 MRSA §1672, sub-§1, ¶A-3 is enacted to read:

A-3.  "Linear fluorescent mercury-added lamp" means a low-pressure, mercury-containing, electric-discharge light source, regardless of the tube diameter and the shape of the lamp, in which a fluorescent coating transforms a portion of the ultraviolet energy generated by the mercury discharge into visible light and that:

(1)  Has 2 bases or end caps of any type, including, but not limited to, a one-pin or 2-pin base type and a recessed double contact base type;

(2)  Provides a light emission between a correlated color temperature of 1,700K and 24,000K and a Duv of +0.024 and -0.024 in the International Commission on Illumination (CIE) Uniform Color Space (CAM02-UCS); and

(3)  Has a tube length of 0.5 feet to 8 feet.

Sec. 3.  38 MRSA §1672, sub-§1, ¶B, as enacted by PL 2009, c. 272, §1, is amended to read:

B.  "Mercury-added lamp" means an electric lamp to which mercury is intentionally added during the manufacturing process, including, but not limited to, a linear fluorescent mercury-added lamp, a compact fluorescent, mercury-added lamp and a black light, high-intensity discharge, ultraviolet and or neon lamps mercury-added lamp.

Sec. 4.  38 MRSA §1672, sub-§4-A is enacted to read:

4-A.  Sales prohibition and exceptions.  Beginning January 1, 2026, a person may not offer for sale, sell or distribute as a new manufactured product a compact fluorescent mercury-added lamp or a linear fluorescent mercury-added lamp. The prohibition in this subsection does not apply to the following:

A.  A mercury-added lamp that is designed and marketed exclusively for image capture and projection, including:

(1) Photocopying;

(2) Printing, directly or in preprocessing;

(3) Lithography;

(4) Film or video projection; or

(5) Holography;

B.  A mercury-added lamp that has a high proportion of ultraviolet light emission and that:

(1) Has ultraviolet power greater than 2 milliwatts per kilolumen;

(2) Is designed for germicidal use, including the destruction of deoxyribonucleic acid, or DNA, that emits a peak radiation of approximately 253.7 nanometers;

(3) Is designed and marketed exclusively for disinfection or fly trapping and from which:

(a)  The radiation power emitted between 250 and 315 nanometers represents at least 5% of the total radiation power emitted between 250 and 800 nanometers; or

(b)  The radiation power emitted between 315 and 400 nanometers represents at least 20% of the total radiation power emitted between 250 and 800 nanometers;

(4) Is designed and marketed exclusively for the generation of ozone and that has the primary purpose of emitting radiation at approximately 185.1 nanometers;

(5) Is designed and marketed exclusively for coral zooxanthellae symbiosis and from which the radiation power emitted between 400 and 480 nanometers represents at least 40% of the total radiation power emitted between 250 and 800 nanometers; or

(6) Is designed and marketed exclusively for use in a sunlamp product, as defined in 21 Code of Federal Regulations, Section 1040.20(b)(9) as in effect on January 1, 2024;

C.  A mercury-added lamp designed and marketed exclusively for use in medical or veterinary diagnosis or treatment or in a medical device;

D. A mercury-added lamp designed and marketed exclusively for use in the manufacturing or quality control of pharmaceutical products;

E.  A mercury-added lamp designed and marketed exclusively for spectroscopy and photometric applications, including, but not limited to, ultraviolet-visible spectroscopy, molecular spectroscopy, atomic absorption spectroscopy, nondispersive infrared spectroscopy, Fourier transform infrared spectroscopy, medical analysis, ellipsometry, layer thickness measurement, process monitoring or environmental monitoring;

F.  A mercury-added lamp designed and marketed exclusively for use by academic and research institutions for conducting research projects and experiments; or

G. A compact fluorescent mercury-added lamp that is used to replace a lamp in a motor vehicle that was manufactured on or before January 1, 2020.

The department may investigate complaints received regarding potential violations of this subsection and, as a result of those investigations, may enforce this subsection in accordance with sections 347-A and 349, but the department is not required to conduct compliance inspections of locations where mercury-added lamps or other light sources are sold or distributed, conduct outreach or education activities related to the prohibition in this subsection or engage in any other regulatory or enforcement activities related to the prohibition in this subsection.