Be it enacted by the People of the State of Maine as follows:

Sec. 1.  5 MRSA §12004-A, sub-§22-A is enacted to read:

22-A.  State Board	Not	32 MRSA §15354

of Examiners for the	Authorized

Medical Gas and Vacuum

System Industry

Sec. 2.  32 MRSA c. 135 is enacted to read:

CHAPTER 135

MEDICAL GAS AND VACUUM SYSTEM INSTALLERS

§15351.  Scope

This chapter applies to construction, renovation, installation, alteration, extension, removal, repair, maintenance and service of all medical gas and vacuum systems in the State; except that this chapter does not apply to medical gas and vacuum system installation work performed by persons on their own residences.

§15352.  Definitions

As used in this chapter, unless the context otherwise indicates, the following terms have the following meanings.

1.  ANSI/ASSE SERIES 6000.  "ANSI/ASSE Series 6000" means the latest edition of the professional qualification standards for medical gas and vacuum system installers, inspectors and verifiers published by the American Society of Sanitary Engineering.

2.  ANSI/NFPA 99c.  "ANSI/NFPA 99c" means the latest edition of the medical gas and vacuum standard 99c as published by the National Fire Protection Association.

3.  Apprentice.  "Apprentice" means a person who is learning and working at a trade under the supervision of another person certified in accordance with the provisions of this chapter and enrolled in a registered apprenticeship program in accordance with this chapter.

4.  Board.  "Board" means the State Board of Examiners for the Medical Gas and Vacuum System Industry created pursuant to this chapter.

5.  Contractor.  "Contractor" means any person who for a

fixed price, commission, fee, or percentage undertakes to bid upon, or accepts, or offers to accept, orders or contracts for performing, managing, or superintending, in whole or in part, medical gas and vacuum system installation work regulated by this chapter.

6.  IAPMO.  "IAPMO" means the International Association of Plumbing and Mechanical Officials.

7.  Inspector.  "Inspector" means any person employed by the State, a county or a municipality for the purpose of inspecting medical gas and vacuum system installation work in connection with the provisions of this chapter and any applicable code, rule or regulation, or any other health and safety law or ordinance, and has met the qualifications for inspector certification in accordance with the provisions of this chapter.

8.  Journeyman.  "Journeyman" means any person, other than an apprentice, who engages in or works at a trade subject to inspection under this chapter and who has completed the requirements for journeyman certification under the provisions of this chapter.

9.  Medical gas and vacuum system.  "Medical gas and vacuum system" means a pipe distribution system characterized by a central supply, including bulk systems, manifold devices or medical air compressors, with control equipment and piping extending to points in a facility where nonflammable gases are required or utilized, with suitable outlet valves at each use point.

10.  Medical gas and vacuum system installation.  "Medical gas and vacuum system installation" means the work, practice, materials, instrumentation and fixtures used in the construction, installation, alteration, extension, removal, repair, maintenance or renovation of gas and vacuum systems that are used solely to transport gases for medical purposes and to remove liquid, gas and solids.

11.  Registered apprenticeship program.  "Registered apprenticeship program" means an apprenticeship training program that is registered with the United States Department of Labor, Bureau of Apprenticeship and Training in accordance with the requirements of 29 Code of Federal Regulations, 29 (2003), and consists of, at a minimum, 8,000 hours of documented practical experience combined with a total of 1,000 hours of classroom and shop instruction in a trade subject to this chapter.

12.  State Medical Gas and Vacuum System Code.  "State Medical Gas and Vacuum System Code" means the latest editions of

the Uniform Plumbing Code, ANSI/NFPA 99c and ANSI/ASSE Series 6000 as adopted and amended by the board pursuant to section 15353.

12.  UPC.  "UPC" means the Uniform Plumbing Code published by IAPMO.

§15353.  State Medical Gas and Vacuum System Code

1.  Scope of code.  The UPC, ANSI/NFPA 99c and ANSI/ASSE Series 6000 serve as the medical gas and vacuum system code for all construction, renovation, installation, alteration, extension, removal, repair, maintenance or service of medical gas and vacuum systems governed by this chapter.

2.  Adoption of code.  The board shall, as its first act of business, adopt the most recent editions of the UPC and the ANSI/NFPA 99c and ANSI/ASSE Series 6000, which with any subsequent amendments the board may adopt, is known as "the State Medical Gas and Vacuum System Code."

§15354.  Creation and composition of board

1.  State Board of Examiners for the Medical Gas and Vacuum System Industry.  The State Board of Examiners of the Medical Gas and Vacuum System Industry, as established in Title 5, section 12004-A, subsection 22-A, is created to carry out the purposes of this chapter.

2.  Composition.  The board consists of 7 appointed members as follows:

A.  Three medical gas and vacuum system installers;

B.  Two medical gas and vacuum system installation contractors engaged in the construction or maintenance of commercial or industrial facilities;

C.  One general contractor engaged in the construction or maintenance of commercial or industrial facilities; and

D.  One appointed from the public at large.

3.  Appointment and removal.  The Governor shall appoint the members of the board, subject to confirmation by the Senate, to staggered 4-year terms.  The Governor may remove any member of the board for misconduct, incompetence or neglect of duty. Within 30 days after the effective date of this chapter, the Governor shall appoint the initial members of the board.

4.  Quorum.  A majority of the board constitutes a quorum for the transaction of all business.

§15355.  Powers and duties

In addition to all other powers and duties conferred or imposed upon the board by this chapter, the board is authorized to:

1.  Officers.  Elect its own officers and prescribe their duties;

2.  Certifications and permits.  Grant certifications and apprentice permits to duly qualified applicants;

3.  Fees.  Establish fees that are reasonable and necessary to defray the cost of administering this chapter;

4.  Rules.  Adopt rules not inconsistent with the laws of this State as may be necessary for the orderly conduct of its affairs and for the administration of this chapter;

5.  Enforcement.  Enforce the provisions of this chapter and any related code or rules through inspections, audits, citations, civil penalties and any other appropriate means;

6.  Inspections.  Employ inspectors and charge fees for inspections of installations pursuant to this chapter;

7.  Investigations.  Subpoena records and documents and compel the attendance of witnesses pursuant to an investigation or a hearing of the board;

8.  Hearings.  Conduct hearings according to the provisions of the Maine Administrative Procedure Act;

9.  Legal action.  Bring a suit, in any court of competent jurisdiction, to enjoin any person from violating this chapter;

10.  Exceptions.  Review and approve or disapprove requests for exceptions to the State Medical Gas and Vacuum System Code in situations in which a strict interpretation of the code would result in unreasonable operational conditions or unreasonable economic burdens as long as public safety is not compromised; and

11.  Endorsements.  Create requirements for specialized endorsements for certifications governed by this chapter.

§15356.  Publication of requirements

The board shall, within 30 days after being appointed, devise a plan for publicizing the requirements of this chapter to all persons who may be affected.  The board shall take such action to implement the plan as is reasonable and necessary.

§15357.  Examinations for certifications

The board shall establish and administer, or contract out to a recognized 3rd-party certifier for, examinations as required for certification under this chapter and determine satisfactory performance for these examinations.

§15358.  Revoking or suspending certifications

In accordance with the Maine Administrative Procedure Act, the board may revoke or suspend a certification or reprimand a certification holder for any violation of this chapter or rules of the board.  Grounds for suspension or revocation of a certification due to suspected incompetence or willful violation by a certification holder may be determined through retesting procedures.

§15359.  Reinstating certifications

The board shall establish a procedure for reinstating any certification that has been revoked or suspended.  Any person whose certification has been revoked may not apply for reinstatement of that certification before the expiration of one year from the date of such revocation.  If the board proposes to refuse a person's application for licensure or to suspend or revoke a person's certification, the person is entitled to notice and a hearing before the board.

§15360.  General certification requirements

The board shall issue a certification to any person who:

1.  Qualifications.  Meets the qualifications and requirements for a specific certification under this chapter;

2.  Application.  Completes and affirms before a notary public an application for examination and certification established by the board;

3.  Evidence of qualifications.  Presents competent evidence, in a form acceptable to the board, demonstrating that the applicant meets the qualifications and requirements of the certification for which the applicant has applied;

4.  Fees.  Pays the appropriate fees established by the board; and

5.  Examination.  Performs satisfactorily on the appropriate certification examination established and administered by the board.  An applicant who fails to satisfactorily perform on an examination may take no more than 2 additional examinations during the one-year period commencing on the date of the applicant's first application, and any applicant who fails to satisfactorily perform on 3 examinations within this one-year period may not be allowed to take an examination within one year of the last examination on which the applicant failed to satisfactorily perform.

§15361.  Conditions

To permit the effective and orderly implementation of this chapter, the conditions set out in this section apply to the issuance of initial certifications and endorsements under this chapter.

1.  Grace period.  There must be a one-year period from the effective date of this chapter that serves as a grace period for all persons applying for inspector certifications, journeyman certifications or specialized endorsements required under this chapter.

2.  Exemption from certification.  During the one-year grace period established in subsection 1, a person is not required to possess any certification or endorsement mandated by this chapter to perform work regulated by this chapter, as long as the person has submitted the necessary certification application within 180 days from the effective date of this chapter.

3.  Application for journeyman endorsement or certification. During the one-year grace period established in subsection 1, an applicant may apply for a journeyman certification or endorsement, even if the applicant does not satisfy the apprenticeship requirements for that certification or endorsement.  However, such applicants must comply with all other certification requirements of this chapter and perform satisfactorily on the examination established for the applicable trade.

4.  Prohibition.  A person whose application is denied by the board is immediately prohibited from engaging in the applicable trade.

5.  Inspector certifications.  The board shall grant

inspector certifications to qualified persons.  Those persons are not required to satisfy the 5-year journeyman certification requirement but must comply with all other certification requirements of this chapter.

§15362.  Medical gas and vacuum system installer certification

An applicant for a medical gas and vacuum system installer examination and certification must have:

1.  Examination.  The ability to provide satisfactory answers to the examination questions pursuant to section 15357;

2.  Brazer standards.  A current certification as a medical gas and vacuum system brazer issued in accordance with welding and brazing qualification standards adopted by the board;

3.  Training course.  Evidence of completion of an approved training course on medical gas and vacuum system installation as required by ANSI/ASSE Series 6000; and

4.  Supervised experience.  Eight thousand hours of documented practical experience in piping system installation under the supervision of a journeyman plumber licensed under chapter 49.

§15363.  Apprentice permit

The board shall issue an apprentice permit to any person seeking to learn and work at a trade under the supervision of another person certified in accordance with the provisions of this chapter.  The applicant must:

1.  Application.  Complete and affirm before a notary public an application for an apprentice permit established by the board;

2.  Apprenticeship.  Present competent evidence, in a form acceptable to the board, demonstrating that that applicant is enrolled in a registered apprenticeship program in accordance with this chapter; and

3.  Fees.  Pay the appropriate fees established by the board.

An apprentice permit issued by the board remains valid as long as the holder is enrolled in a registered apprenticeship program in accordance with this chapter.

§15364.  Inspector certification

1.  Journeyman certification.  An applicant for an inspector

examination and certification must possess a journeyman certification under this chapter that has been consistently valid for a period of not less than 5 years.

2.  Financial or advisory interest.  Before a person may be qualified for an inspector certification under this chapter, the person shall swear or affirm under oath the person does not have any financial or advisory interests in any medical gas and vacuum system installation company and will not have any financial or advisory interest in any medical gas and vacuum system installation company while holding a valid inspector certification.

§15365.  Reciprocity

The board may issue a certification or apprentice permit provided for in this chapter without examination to any currently practicing, competent person who holds a similar authorization granted by any other state that establishes substantially similar qualification requirements to those established under this chapter, provided that the state grants reciprocal authorizations to any currently practicing, competent person holding a certification in this State.

1.  Certification by reciprocity.  An applicant for certification by reciprocity shall:

A.  Complete and affirm before a notary public an application for certification by reciprocity established by the board;

B.  Present competent evidence, in a form acceptable to the board, demonstrating that the applicant is currently a practicing, competent person who holds a similar authorization granted by another state that establishes substantially similar qualification requirements to those established under this chapter; and

C.  Pay the appropriate fees established by the board.

§15366.  Expiration and renewal

1.  Expiration.  Persons holding medical gas and vacuum system installer certifications must recertify according to guidelines established by the board.

2.  Renewal.  The board shall renew for a period of 3 years any certification issued under this chapter upon receiving from the renewal applicant a completed renewal form, as established by the board, the appropriate renewal fee, and evidence of recertification to the most recent ANSI/NFPA 99c.

§15367.  Conduct prohibited without certification

1.  Engaging in business or trade.  A person may not engage in the business or trade of work regulated or controlled by this chapter without an appropriate certification and, if applicable, an endorsement issued pursuant to this chapter authorizing the person to engage in the specific business or trade or by any rule adopted pursuant to this chapter.

2.  Solicitation.  A person may not solicit, by sign, listing or any other form of advertisement, work regulated or controlled by this chapter or by any rule adopted pursuant to this chapter unless the person has been duly certified by the board to perform that work.

3.  Inspectors.  A municipality, county or agency of this State may not appoint, authorize, or employ any person to perform inspections under this chapter or the State Medical Gas and Vacuum System Code unless the inspector has been duly certified by the board as an inspector as provided in this chapter.

4.  Exceptions for apprentices.  Notwithstanding the provisions of this section, an apprentice permit holder enrolled in a registered apprenticeship program for a trade subject to control or regulation under this chapter may engage in the work of that trade only when the apprentice is under the supervision of a certified journeyman and only to the extent that the supervising journeyman is duly certified by the board to perform such work.

5.  Other exceptions.  This chapter may not be construed to require employees of the Federal Government to hold certifications required by this chapter.

Any violation of this section is subject to the penalties described in section 15372.

§15368.  Maintain current qualifications

A person who holds a certification or endorsement regulated by this chapter that requires at the time of application evidence of a certification pursuant to section 15362, subsection 2 must maintain those qualifications as a condition for maintaining certifications and endorsements issued under this chapter.

A person who does not maintain current certification requirements pursuant to section 15362, subsection 2 is guilty of a violation of this chapter, which immediately invalidates any certification or endorsement issued pursuant to this chapter.

§15369.  Other prohibited acts

It is unlawful and a violation of this chapter for any person to:

1.  Error or fraud.  Obtain a certification or apprentice permit through error or fraud;

2.  False presentation.  Present or attempt to use the certification or apprentice permit of another person for any reason;

3.  Impersonation.  Impersonate another person who holds a certification or an apprentice permit or use an expired or revoked certification;

4.  Not registered as apprentice.  Use an apprentice permit when the holder is not enrolled in a registered apprenticeship program;

5.  False or forged evidence.  Give false or forged evidence of any kind to the board in an application for the issuance or renewal of a certification or apprentice permit under this chapter;

6.  Code violation.  Willfully or negligently violate the State Medical Gas and Vacuum System Code or the rules of the board adopted pursuant to this chapter;

7.  Misrepresentation.  Knowingly make a substantial misrepresentation of services provided; or

8.  False representation of status.  Knowingly make any false promise regarding a person's certification or apprentice permit status with intent to influence, persuade or induce an individual to contract for services regulated or controlled under this chapter.

§15370.  Violations through employment of another person

or conspiracy

It is a violation of this chapter to employ another person or to otherwise conspire with another person to violate any terms of this chapter or any rule adopted pursuant to this chapter.

§15371.  Actions required; duty to display certification

or apprentice permit

1.  Compliance.  A person issued a certification or

apprentice permit under the terms of this chapter shall comply with the provisions of this chapter, the State Medical Gas and Vacuum System Code and any applicable rules adopted pursuant to this chapter.

2.  Exhibition.  Journeyman certifications with appropriate endorsements and apprentice permits required under this chapter must be exhibited whenever required by an inspector certified under this chapter.

§15372.  Penalties

1.  Revocations, suspensions and reprimands.  The board shall revoke or suspend a certification, endorsement or apprentice permit or reprimand a certification holder, endorsement holder or apprentice permit holder for any violations of this chapter or rules of the board.

2.  Civil penalties.  A person who violates any provision of this chapter, the State Medical Gas and Vacuum System Code or any applicable rule of the board is subject to a civil penalty of not less than $50 or more than $1,000 per day for each violation.

3.  Criminal penalties.  A person who knowingly or willfully violates this chapter, the State Medical Gas and Vacuum System Code or any applicable rule is guilty of a Class E crime.

§15373.  Rulemaking

The board shall adopt rules necessary to implement this chapter.  Rules adopted pursuant to this chapter are routine technical rules as defined in Title 5, chapter 375, subchapter 2-A.

SUMMARY

This bill creates the State Board of Examiners for the Medical Gas and Vacuum System Industry and establishes certification requirements for medical gas and vacuum system installers and a permit system for those who apprentice as medical gas and vacuum system installers.