An Act Directing the Bureau of General Services to Ensure Adequate Air Quality in All State-owned and State-leased Buildings

Be it enacted by the People of the State of Maine as follows:

Sec. 1.  5 MRSA §1742-H is enacted to read:

§1742-H.  Bureau of General Services; air quality assurance in state-owned and state-leased buildings

The Department of Administrative and Financial Services, Bureau of General Services shall ensure adequate air quality in buildings owned or leased by the State, whether used by the executive, judicial or legislative branches, including but not limited to buildings in the State House complex.  In order to ensure adequate air quality, the department shall test, inspect and monitor all factors that may affect air quality in each building, including by testing for radon, formaldehyde, mold, microbial growth, vermin and any other potential source of air contamination.  The department shall develop and implement action plans to remedy air quality issues that are discovered and to maintain adequate air quality, including but not limited to action plans for inspecting and, as appropriate, installing, renovating or redesigning building ventilation systems.

Sec. 2.  Report and recommendations.  By January 15, 2024, the Department of Administrative and Financial Services, Bureau of General Services shall provide to the Joint Standing Committee on Appropriations and Financial Affairs a report on its testing and inspection of buildings as required under the Maine Revised Statutes, Title 5, section 1742-H together with a report of action plans developed or implemented under that section as well as an estimate of any costs the department identifies to complete actions necessary to ensure adequate air quality in accordance with that section.  The Joint Standing Committee on Appropriations and Financial Affairs may report out a bill to the Second Regular Session of the 131st Legislature to fund all costs identified by the department in its report.

SUMMARY

This bill does the following.

1. It directs the Department of Administrative and Financial Services, Bureau of General Services to ensure adequate air quality in buildings owned or leased by the State, whether used by the executive, judicial or legislative branches, including but not limited to buildings in the State House complex.  The department is directed to test, inspect and monitor all factors that may affect air quality in each building and develop and implement action plans to remedy air quality issues that are discovered and to maintain adequate air quality.

2. By January 15, 2024, it directs the Department of Administrative and Financial Services, Bureau of General Services to provide to the Joint Standing Committee on Appropriations and Financial Affairs a report on its testing and inspection of buildings together with a report of action plans developed or implemented as well as an estimate of any costs the department identifies to complete actions necessary to ensure adequate air quality.  The Joint Standing Committee on Appropriations and Financial Affairs may report out a bill to the Second Regular Session of the 131st Legislature to fund all costs identified by the department in its report.