An Act to Establish Minimum Safety Standards for the Construction and Use of Temporary Emergency Shelters

Be it enacted by the People of the State of Maine as follows:

Sec. 1.  25 MRSA §2452, first ¶, as repealed and replaced by PL 2011, c. 691, Pt. A, §25, is amended to read:

The Commissioner of Public Safety shall adopt and may amend rules governing the safety to life from fire in or around all buildings or other structures, including temporary emergency shelters, and mass outdoor gatherings, as defined in Title 22, section 1601, subsection 2, within the commissioner's jurisdiction. Automatic sprinkler systems may not be required in existing noncommercial places of assembly. Noncommercial places of assembly include those facilities used for such purposes as deliberation, worship, entertainment, amusement or awaiting transportation that have a capacity of 100 to 300 persons.  Automatic sprinkler systems may not be required in existing commercial places of assembly that are open for no more than 50 days per calendar year.  "Commercial places of assembly" includes bars with live entertainment, dance halls, nightclubs, assembly halls with large open areas in which patrons stand or sit, commonly referred to as "festival seating," and restaurants.  For the purposes of this section, "temporary emergency shelter" means a structure or mobile unit designed for short-term habitation during an emergency and includes, but is not limited to, mobile homes, modular units and other nonpermanent structures.  Rules adopted pursuant to this section are routine technical rules, except that rules pertaining to fire sprinklers are major substantive rules, both of which are defined in Title 5, chapter 375, subchapter 2-A.

Sec. 2.  Rules for temporary emergency shelters.  In consultation with the Technical Building Codes and Standards Board established pursuant to the Maine Revised Statutes, Title 10, section 9722, the Commissioner of Public Safety shall adopt rules governing life and fire safety and other safety protections for temporary emergency shelters pursuant to Title 25, section 2452.  The rules must include, but are not limited to:

1.  Fire code standards for the design and construction of temporary emergency shelters, including ventilation requirements, electrical safety and emergency exits;

2.  Required fire prevention equipment such as smoke and carbon monoxide detectors; and

3.  Standard tenant fire safety rules regulating the use of open flames.

SUMMARY

This bill requires the Commissioner of Public Safety, in consultation with the Department of Public Safety, Office of the State Fire Marshal, Technical Building Codes and Standards Board, to establish rules governing life and fire safety for temporary emergency shelters.