An Act To Protect the Health, Safety and Comfort of Elderly Residents and Residents with Disabilities by Ensuring Backup Access to Electrical Power in Certain Facilities during Power Outages

Be it enacted by the People of the State of Maine as follows:

Sec. 1.  14 MRSA §6030-H is enacted to read:

§6030-H.  Emergency plan in case of loss of electric power

The property management company or owner of a senior housing facility of more than 4 units that is subsidized by state or federal funds that does not have emergency backup electrical generation shall have an emergency plan in place with a minimum standard that an in-person well-being check be conducted for the occupant of each unit within 6 hours of an unplanned, continued loss of electric power.

Sec. 2.  22 MRSA §7864 is enacted to read:

§7864.  Requirements for facilities that host assisted housing programs

A facility that hosts an assisted housing program and is built after October 1, 2021 must have a source of continuous emergency electric power, such as an emergency generator.

The property management company or owner of a facility that hosts an assisted housing program shall implement an emergency management plan that, in addition to all other requirements for that assisted housing program, requires a minimum standard that an in-person well-being check be conducted for each resident within 2 hours of an unplanned, continued loss of electric power.

SUMMARY

This bill requires that a facility that hosts an assisted housing program and is built after October 1, 2021 have a source of continuous emergency electric power, such as an emergency generator.  It requires the property management company or owner of a facility that hosts an assisted housing program to implement an emergency management plan that requires that an in-person well-being check be conducted for each resident within 2 hours of an unplanned, continued loss of electric power.  It requires the property management company or owner of a senior housing facility of more than 4 units that is subsidized by state or federal funds that does not have emergency backup electrical generation to have an emergency plan in place for an in-person well-being check for the occupant of each unit within 6 hours of an unplanned, continued loss of electric power.