An Act to Update the Laws Regarding Fuel Gas Detector Requirements

Be it enacted by the People of the State of Maine as follows:

Sec. 1.  25 MRSA §2469, sub-§2, as amended by PL 2023, c. 405, Pt. A, §96, is further amended to read:

2.  Fuel gas detector required.  The building owner shall install, or cause to be installed, in accordance with the manufacturer's requirements at least one approved fuel gas detector in every room containing an appliance that combusts propane, natural gas or any liquefied petroleum gas in:

A.  Each unit in any building of multifamily occupancy with 3 or more dwelling units and each apartment in an apartment building as defined in the National Fire Protection Association Life Safety Code;

B.  A fraternity house, sorority house or dormitory that is affiliated with an educational facility;

C.  A children's home, emergency children's shelter, children's residential care facility, shelter for homeless children or specialized children's home as defined in Title 22, section 8101, subsections 1, 2, 4, 4‑A and 5, respectively;

D.  A lodging or rooming house, hotel, or dormitory as defined in the National Fire Protection Association Life Safety Code or a motel or inn;

E.  A mixed use occupancy that contains a dwelling unit;

F.  Beginning From January 1, 2026 to December 31, 2026, a business occupancy and beginning January 1, 2027, a business occupancy as defined in the National Fire Protection Association Life Safety Code;

G.  Beginning From January 1, 2026 to December 31, 2026, a mercantile occupancy and beginning January 1, 2027, a mercantile occupancy as defined in the National Fire Protection Association Life Safety Code; or

H.  Beginning From January 1, 2026 to December 31, 2026, an assembly occupancy. and beginning January 1, 2027, an assembly occupancy as defined in the National Fire Protection Association Life Safety Code;

I.  Beginning January 1, 2028, a day care occupancy as defined in the National Fire Protection Association Life Safety Code;

J.  Beginning January 1, 2028, an educational occupancy as defined in the National Fire Protection Association Life Safety Code;

K.  Beginning January 1, 2028, a health care occupancy, ambulatory health care occupancy and residential board and care occupancy as defined in the National Fire Protection Association Life Safety Code; or

L.  Beginning January 1, 2028, a detention and correctional occupancy as defined in the National Fire Protection Association Life Safety Code.

Sec. 2.  25 MRSA §2469, sub-§8 is enacted to read:

8.  Enforcement.  This section may be enforced by the Office of the State Fire Marshal; a state, county or municipal law enforcement officer; a municipal code enforcement officer; or a state, county or municipal fire inspector.

SUMMARY

Current law requires that every room containing an appliance that combusts fuel gas in each unit in any building of multifamily occupancy have a fuel gas detector.  This bill requires that every room containing an appliance that combusts fuel gas in each unit in any building of multifamily occupancy with 3 or more dwelling units and each apartment in an apartment building have a fuel gas detector.  Current law requires that every room containing an appliance that combusts fuel gas in a hotel, motel or inn have a fuel gas detector.  The bill requires that every room containing an appliance that combusts fuel gas in a lodging or rooming house, hotel or dormitory as defined in the National Fire Protection Association Life Safety Code or every room containing an appliance that combusts fuel gas in a motel or inn have a fuel gas detector.  Current law requires that beginning January 1, 2026, every room containing an appliance that combusts fuel gas in a business occupancy, a mercantile occupancy and an assembly occupancy have a fuel gas detector.  The bill requires that beginning January 1, 2027, every room containing an appliance that combusts fuel gas in a business occupancy, a mercantile occupancy and an assembly occupancy as defined in the National Fire Protection Association Life Safety Code have a fuel gas detector.  The bill also requires that beginning January 1, 2028, every room containing an appliance that combusts fuel gas in a day care occupancy, an educational occupancy, a health care occupancy, an ambulatory health care occupancy, a residential board and care occupancy and a detention and correctional occupancy as defined in the National Fire Protection Association Life Safety Code have a fuel gas detector.  Finally, the bill provides that the laws governing fuel gas detectors may be enforced by the Office of the State Fire Marshal; a state, county or municipal law enforcement officer; a municipal code enforcement officer; or a state, county or municipal fire inspector.