An Act To Reduce Lung Cancer Rates in Maine by Requiring Testing for and Mitigation of Radon in Residential Buildings by Landlords

Be it enacted by the People of the State of Maine as follows:

Sec. 1.  14 MRSA §6030-D, sub-§1, as amended by PL 2013, c. 324, §2, is further amended to read:

1.  Testing.  By March 1, 2014, and, unless a mitigation system has been installed in that residential building, every 10 years 2022 and annually thereafter when requested by a tenant, a landlord or other person who on behalf of a landlord enters into a lease or tenancy at will agreement for a residential building shall have the air of the residential building tested for the presence of radon.  For a residential building constructed or that begins operation after March 1, 2014, a landlord or other person acting on behalf of a landlord shall have the air of the residential building tested for the presence of radon within 12 months of the occupancy of the building by a tenant.  Except as provided in subsection 5, a test required to be performed under this section must be conducted by a person registered with the Department of Health and Human Services pursuant to Title 22, chapter 165.

Sec. 2.  14 MRSA §6030-D, sub-§3-A is enacted to read:

3-A.  Mitigation.  When the test of a residential building under subsection 1 reveals a level of radon of 4.0 picocuries per liter of air or above, the landlord or other person who on behalf of a landlord enters into a lease or tenancy at will agreement for that building shall, within 6 months, mitigate the level of radon in the residential building until it is reduced to a level below 4.0 picocuries per liter of air. Mitigation services must be provided by a person registered with the Department of Health and Human Services pursuant to Title 22, chapter 165. After mitigation has been performed pursuant to this subsection to reduce the level of radon, the landlord or other person who on behalf of a landlord enters into a lease or tenancy at will agreement for the residential building shall provide written notice to tenants that radon levels have been mitigated.

SUMMARY

This bill requires landlords, beginning in 2022, to test residential buildings yearly for radon. If the test reveals a level of radon of 4.0 picocuries per liter of air or above, the landlord must mitigate within 6 months the level of radon in the residential building until it is reduced to a level below 4.0 picocuries per liter of air.