An Act To Ensure That Building Codes Allow the Installation and Use of Products and Equipment That Use Certain Federally Regulated Refrigerants

Be it enacted by the People of the State of Maine as follows:

Sec. 1.  10 MRSA §9722, sub-§6, ¶I, as amended by PL 2021, c. 293, Pt. A, §18, is further amended to read:

I.  Approve methods of energy performance rating for use in generating any consumer information labels that may be required in the marketing and sale of residential and commercial buildings or units within buildings; and

Sec. 2.  10 MRSA §9722, sub-§6, ¶O, as enacted by PL 2019, c. 392, §3, is amended to read:

O.  No later than July 1, 2020, adopt, amend and maintain an appendix to the Maine Uniform Building and Energy Code as an optional part of the code that contains energy conservation and efficiency requirements that are based on established national voluntary efficiency standards that exceed the energy code requirements established in the Maine Uniform Building and Energy Code.  As the code is updated, the board shall ensure that the energy conservation and efficiency requirements in the appendix continue to exceed the requirements established in the Maine Uniform Building and Energy Code.  The appendix must be made available for voluntary adoption by any municipality.  The board shall maintain a list of municipalities that have voluntarily adopted the appendix to the Maine Uniform Building and Energy Code on its publicly accessible website.; and

Sec. 3.  10 MRSA §9722, sub-§6, ¶P is enacted to read:

P.  Ensure, through the adoption of necessary amendments, that the Maine Uniform Building and Energy Code expressly allows the installation or use of a product or equipment the end use of which is regulated pursuant to Title 38, section 1615 and that:

(1)  Uses a refrigerant that is listed by the United States Environmental Protection Agency in regulations adopted pursuant to 42 United States Code, Section 7671k as acceptable, acceptable subject to use conditions or acceptable subject to narrowed use limits; and

(2)  Is installed in accordance with any applicable conditions or limitations imposed by those regulations.

As used in this paragraph, “end use” has the same meaning as in Title 38, section 1615, subsection 1, paragraph I; “refrigerant” has the same meaning as in Title 38, section 1615, subsection 1, paragraph Y; and “use” has the same meaning as in Title 38, section 1615, subsection 1, paragraph TT.

Sec. 4.  10 MRSA §9724, sub-§5, as amended by PL 2011, c. 582, §1, is further amended to read:

5.  Exception.  This Except as provided in subsection 7, this section does not prohibit the adoption or enforcement of an ordinance of any political subdivision that sets forth provisions for local enforcement of building codes.  If such an ordinance does not provide for a process to appeal decisions made by building officials administering and enforcing the Maine Uniform Building Code, the Maine Uniform Energy Code or the Maine Uniform Building and Energy Code, an appeal may be taken in the same manner as provided under Title 30-A, section 4103, subsection 5.  This section does not prohibit the adoption or enforcement of an ordinance of any political subdivision that sets forth the swimming pool fencing standards, without amendment, contained in Appendix G of the 2nd edition of the 2009 International Residential Code.

A.  The requirements of the Maine Uniform Building and Energy Code do not apply to:

(1)  Log homes or manufactured housing as defined in chapter 951;

(2)  Post and beam or timber frame construction; or

(3)  Warehouses or silos used to store harvested crops.

Sec. 5.  10 MRSA §9724, sub-§7 is enacted to read:

7.  Installation or use of certain products or equipment using certain refrigerants.  Notwithstanding subsection 5, paragraph A or any other provision of this chapter to the contrary, a municipality may not adopt or enforce any provision of a building code, including the Maine Uniform Building Code, the Maine Uniform Energy Code or the Maine Uniform Building and Energy Code, that prohibits the installation or use of a product or equipment the end use of which is regulated pursuant to Title 38, section 1615 and that uses a refrigerant listed by the United States Environmental Protection Agency in regulations adopted pursuant to 42 United States Code, Section 7671k as acceptable, acceptable subject to use conditions or acceptable subject to narrowed use limits and that is installed in accordance with any applicable conditions or limitations imposed by those regulations.

As used in this subsection, “end use” has the same meaning as in Title 38, section 1615, subsection 1, paragraph I; “refrigerant” has the same meaning as in Title 38, section 1615, subsection 1, paragraph Y; and “use” has the same meaning as in Title 38, section 1615, subsection 1, paragraph TT.

Sec. 6.  38 MRSA §1613, as enacted by PL 2021, c. 192, §1 and reallocated by RR 2021, c. 1, Pt. A, §53, is reallocated to 38 MRSA §1615.

SUMMARY

This bill amends the law regarding building codes to ensure that building codes, including the Maine Uniform Building and Energy Code, may not prohibit the installation or use of any product or equipment regulated under the State’s hydrofluorocarbon use restrictions law that uses a refrigerant listed by the United States Environmental Protection Agency in regulations adopted pursuant to the federal Clean Air Act as acceptable, acceptable subject to use conditions or acceptable subject to narrowed use limits and is installed in accordance with any applicable conditions or limitations imposed by those regulations. The bill also corrects a numbering problem created by Public Law 2021, chapter 433 and Revisor's Report 2021, chapter 1 by reallocating to the Maine Revised Statutes, Title 38, section 1615 the version of Title 38, section 1613 that was reallocated in Revisor's Report 2021, chapter 1.