An Act to Reduce Certain Costs Associated with Residential Construction

Be it enacted by the People of the State of Maine as follows:

Sec. 1.  10 MRSA §9722, sub-§6, ¶B-1, as amended by PL 2025, c. 46, §§1 to 3, is further amended by amending subparagraph (4) to read:

(4)  That buildings used to house livestock, store harvested crops or cultivate crops are not subject to the Maine Uniform Building and Energy Code.  The exemption in this subparagraph does not include the cultivation of cannabis regulated under Title 22 or 28‑B; and

Sec. 2.  10 MRSA §9722, sub-§6, ¶B-1, as amended by PL 2025, c. 46, §§1 to 3, is further amended by enacting a new subparagraph (6) to read:

(6)  That smoke partitions for elevator hoistway doors as required in Chapter 30 of the 2021 edition of the International Building Code are not required under the Maine Uniform Building Code; and

Sec. 3.  10 MRSA §9722, sub-§6, ¶B-1, as amended by PL 2025, c. 46, §§1 to 3, is further amended by enacting a new subparagraph (7) to read:

(7)  That an elevator emergency 2-way communication system that includes both visual and audible communication in each elevator car as required in Chapter 30 of the 2021 edition of the International Building Code is not required under the Maine Uniform Building Code.

Sec. 4.  Office of State Fire Marshal to update standards in accordance with National Fire Protection Association standards update.  The Department of Public Safety, Office of the State Fire Marshal shall update the state-adopted National Fire Protection Association standards by adopting the 2025 edition of the National Fire Protection Association 72: National Fire Alarm and Signaling Code.

Sec. 5.  Office of State Fire Marshal to convene residential fire sprinklers working group.  The Department of Public Safety, Office of the State Fire Marshal shall convene a working group, referred to in this resolve as "the working group," to study the housing and life safety impacts of residential fire sprinklers and explore ways to lower the costs associated with the requirement that construction of residential housing include fire sprinkler systems.

1.  The State Fire Marshal or the State Fire Marshal's designee shall invite the participation in the working group of the following persons: a representative from the fire sprinkler industry; a municipal fire safety officer; a representative from the housing development industry; and any additional persons considered necessary by the State Fire Marshal to ensure comprehensive stakeholder representation.

2.  The working group shall:

A.  Conduct a comprehensive review of the existing sprinkler system requirements for residential buildings with 3 or more units and the affiliated costs of the sprinkler systems;

B.  Collect and analyze data on the housing and life safety impacts of residential fire sprinkler systems, including, but not limited to, the frequency of the presence of sprinkler systems in reported house fires and the estimated impact on financial loss and life safety impact;

C.  Explore innovative incentives to reduce the associated costs of installing sprinkler systems in residential construction; and

D.  Develop recommendations for legislative and regulatory changes to reduce the costs of installing required residential sprinkler systems.

3.  The Office of the State Fire Marshal shall provide staff assistance to the working group.

4.  By January 15, 2027, the Office of the State Fire Marshal shall submit a report on the working group's findings and recommendations, including proposed legislation, to the joint standing committee of the Legislature having jurisdiction over housing matters.  The joint standing committee is authorized to submit legislation based on the report to the 133rd Legislature in 2027.

Sec. 6.  Department of Professional and Financial Regulation, Office of Professional and Occupational Regulation to report on rulemaking.  No later than January 15, 2027, the Director of the Office of Professional and Occupational Regulation within the Department of Professional and Financial Regulation shall report to the joint standing committee of the Legislature having jurisdiction over housing matters regarding the status of the adoption of rules for the elevator and tramway safety program within the Office of Professional and Occupational Regulation pursuant to the Maine Revised Statutes, Title 32, section 15205-A, subsection 2.  The committee is authorized to report out legislation related to the report required by this section to the 133rd Legislature in 2027.

SUMMARY

This bill is reported out by the Joint Standing Committee on Housing and Economic Development pursuant to Resolve 2025, chapter 64 to implement the recommendations of the working group to address regulatory barriers to housing construction.  The bill directs:

1.  The Department of Public Safety, Office of the State Fire Marshal to update state standards to comply with the 2025 edition of the National Fire Protection Association 72: National Fire Alarm and Signaling Code;

2.  The Department of Public Safety, Office of the State Fire Marshal to convene a working group to study the housing and life safety impacts of residential fire sprinklers and explore ways to lower associated costs and to submit a report on the stakeholder group's findings and recommendations, including proposed legislation, to the joint standing committee of the Legislature having jurisdiction over housing matters;

3.  The Director of the Office of Professional and Occupational Regulation within the Department of Professional and Financial Regulation to report by January 15, 2027 to the joint standing committee of the Legislature having jurisdiction over housing matters on the status of the adoption of rules for the elevator and tramway safety program.

The bill also excludes from the Maine Uniform Building and Energy Code the 2021 edition of International Building Code requirements that elevators must have a 2-way communication system and smoke partitions.

The committee has not taken a position on the substance of this bill.  By reporting this bill out, the committee is not suggesting and does not intend to suggest that it agrees or disagrees with any aspect of this bill.  The committee is reporting the bill out for the sole purpose of having a bill printed that can be referred to the committee for an appropriate public hearing and subsequent processing in the normal course.  The committee is taking this action to ensure clarity and transparency in the legislative review of the proposals contained in the bill.