An Act To Restrict the Use of Perfluoroalkyl and Polyfluoroalkyl Substances in Firefighting Foam

Be it enacted by the People of the State of Maine as follows:

Sec. 1.  38 MRSA §424-C is enacted to read:

§424-C.  Perfluoroalkyl and polyfluoroalkyl substances in firefighting or fire-suppressing foam

1.  Discharge prohibited.  On or after January 1, 2022, a person, local government or state agency may not discharge or cause to be discharged firefighting or fire-suppressing foam to which perfluoroalkyl and polyfluoroalkyl substances have been added for testing or training, unless the foam is entirely collected for proper disposal. For purposes of this section, “perfluoroalkyl and polyfluoroalkyl substances” has the same meaning as in Title 32, section 1732, subsection 5-A.

2.  Manufacture, sale and distribution prohibited.  On or after January 1, 2022, a manufacturer of a firefighting or fire-suppressing foam may not knowingly manufacture, sell, offer for sale, distribute for sale or distribute for use a foam to which perfluoroalkyl and polyfluoroalkyl substances have been intentionally added.

3.  Exception.  Subsection 2 does not apply to any manufacture, sale or distribution of firefighting foam where the inclusion of perfluoroalkyl and polyfluoroalkyl substances is required by federal law or regulation, including the requirements of 14 Code of Federal Regulations, Section 139.317 as that section existed on January 1, 2021. If an applicable federal law or regulation under this subsection changes after January 1, 2021 to allow the use of alternative firefighting agents that do not contain perfluoroalkyl and polyfluoroalkyl substances, subsection 2 applies to any manufacture, sale or distribution of firefighting foam to which perfluoroalkyl and polyfluoroalkyl substances have been intentionally added.

4.  Report.  A person that discharges or causes to be discharged firefighting or fire-suppressing foam to which perfluoroalkyl and polyfluoroalkyl substances have been intentionally added into or upon any coastal waters, estuary, tidal flat, beach or land adjoining the seacoast of the State or into or upon any lake, pond, river, stream, sewer, surface water drainage, groundwater or other waters of the State or any public or private water supply or onto land adjacent to, on or over such waters of the State shall report the discharge to the department as soon as practicable, but no later than 24 hours after the discharge occurs.

Sec. 2.  Notice.  By January 1, 2022, a manufacturer of firefighting or fire-suppressing foam restricted under the Maine Revised Statutes, Title 38, section 424-C, subsection 2 shall notify, in writing, a person that sells the manufacturer's products in the State of the provisions of this Act.

Sec. 3.  Recall.  By January 1, 2022, a manufacturer that produces, sells or distributes firefighting or fire-suppressing foam prohibited under the Maine Revised Statutes, Title 38, section 424-C, subsection 2 shall recall the firefighting or fire-suppressing foam and reimburse the retailer or any other purchaser for the foam.

Sec. 4.  Framework; report.  The Department of Environmental Protection shall, in collaboration with the Department of Defense, Veterans and Emergency Management, Maine Emergency Management Agency and interested parties, develop a framework for the collection and safe storage of firefighting and fire-suppressing foam prohibited under the Maine Revised Statutes, Title 38, section 424-C, subsection 2 and not returned to the manufacturer until the foam can be safely disposed of. The department shall submit a report to the Joint Standing Committee on Environment and Natural Resources by March 31, 2022 that includes a proposed framework and suggested legislation. The Joint Standing Committee on Environment and Natural Resources may report out a bill based upon the report to the Second Regular Session of the 130th Legislature.

SUMMARY

This bill prohibits, beginning January 1, 2022, the discharge of firefighting or fire-suppressing foam to which perfluoroalkyl and polyfluoroalkyl substances have been added when used for testing or training except when the foam is entirely collected for proper disposal.  The bill also prohibits, beginning January 1, 2022, the manufacture, sale and distribution of such foam unless federal law requires the inclusion of perfluoroalkyl and polyfluoroalkyl substances in the foam. If federal law is changed to allow an alternative to firefighting or fire-suppressing foam to which perfluoroalkyl and polyfluoroalkyl substances have been added, then the foam may not be manufactured, sold or distributed. A person that discharges or causes to be discharged into the coastal or inland waters of the State firefighting or fire-suppressing foam to which perfluoroalkyl and polyfluoroalkyl substances have been added must notify the Department of Environmental Protection as soon as practicable but no more than 24 hours after the discharge. By January 1, 2022, manufacturers of firefighting or fire-suppressing foam to which perfluoroalkyl and polyfluoroalkyl substances have been added must notify their customers of these requirements and recall the foam and reimburse the retailer or other purchaser for the foam.  The Department of Environmental Protection is directed to collaborate with the Department of Defense, Veterans and Emergency Management, Maine Emergency Management Agency and interested parties to develop a framework for the collection and safe storage of firefighting and fire-suppressing foam prohibited by this legislation and not returned to the manufacturer until the foam can be safely disposed of and submit a report including the framework to the Joint Standing Committee on Environment and Natural Resources by March 31, 2022.